## Sheet1
Name | Type | Status | Parent | SerialNumber | Manufacturer | Vendor | Site | Location | InstallationDate | InstallationCost | Price | Period | WarrantyStartDate | WarrantyEndDate
AHU-07 | AHU | Operating |  | 33779R01 | Central Aire | Central Aire | SITE 1 | CH Building > Mechanical Room
CRAC-01 | Crac | Operating |  | U06D06861 | Liebert | Liebert | SITE 1 | CH Building > Outside
CRAC-02 | Crac | Operating |  | C15A8E0028 | Liebert | Liebert | SITE 1 | CH Building > CH Floor 1 > Server Room
CRAC-03 | Crac | Operating |  | 0141N55043 | Liebert | Liebert | SITE 1 | CH Building > CH Floor 1 > Telephone Room
CRAC-04 | Condenser | Operating |  | 0141N54947 | Liebert | Liebert | SITE 1 | CH Building > CH Floor 1 > Telephone Room
EF-12 | Exhaust Fan | Operating |  | 46A00481C | TRANE | TRANE | SITE 1 | CH Building > Rooftop
EF-13 | Exhaust Fan | Operating |  | 46A00481D | TRANE | TRANE | SITE 1 | CH Building > Serving Bathroom
EF-14 | Exhaust Fan | Operating |  | 46A00481E | TRANE | TRANE | SITE 1 | CH Building > Electrical Room
FCU-01 | FCU | Operating |  | 46A00481F | TRANE | TRANE | SITE 1 | CH Building > CH Floor 1 > Stairwell on 1st floor
EF-16 | Exhaust Fan | Operating |  | 46A00481G | TRANE | TRANE | SITE 1 | CH Building > Electrical Room
RF-01 | Return Fan | Operating |  | T04M70798 | TRANE | TRANE | SITE 1 | CH Building > Roof of new expansion
RF-02 | Return Fan | Operating |  | 54628-00 | TRANE | TRANE | SITE 1 | CH Building > Mechanical Room
UH-01 | Unit Heater | Operating |  | T04M70799 | TRANE | TRANE | SITE 1 | CH Building > CH Floor 1 > Above door to patio on 1st floor
UH-02 | Unit Heater | Operating |  | T04M7081 | TRANE | TRANE | SITE 1 | CH Building > Ground Stairwell
UH-03 | Unit Heater | Operating |  | UHCC051AACA | TRANE | TRANE | SITE 1 | CH Building > Electrical Room
VAV-01 | VAV | Operating |  | AVCC08CE5CH | Carnes | Carnes | SITE 1 | CH Building > Lobby
VAV-02 | VAV | Operating |  | AVCC08CE5CK | Carnes | Carnes | SITE 1 | CH Building > Engineer Conference Room
VAV-03 | VAV | Operating |  | AVCC08CE5CL | Carnes | Carnes | SITE 1 | CH Building > Annie's Office
VAV-04 | VAV | Operating |  | AVCC08CE5CM | Carnes | Carnes | SITE 1 | CH Building > File Room
VAV-05 | VAV | Operating |  | AVCC08CE5CN | Carnes | Carnes | SITE 1 | CH Building > CH Floor 1 > Glass Conference Room
HV-01 | AHU | Operating |  | 337791205 | Carnes | Carnes | SITE 1 | CH Building > CH Floor 1 > Lunch Room
HV-02 | AHU | Operating |  | 33779R06 | TRANE | TRANE | SITE 1 | CH Building > CH Floor 1 > Kitchen
HV-03 | AHU | Operating |  | 33779R04 | Carnes | Carnes | SITE 1 | CH Building > Board Room
B-01 | Boiler | Operating |  | 1600-002-0001 | Carnes | Carnes | SITE 1 | CH Building > CH Floor 1 > Corridor
B-02 | Boiler | Operating |  | 1600-002-0002 | TRANE | TRANE | SITE 1 | CH Building > Engineering/Planning Reception
B-03 | Boiler | Operating |  | 1600-002-0003 | Carnes | Carnes | SITE 1 | CH Building > Engineer Front Desk
B-04 | Boiler | Operating |  | 1600-002-0004 | Carnes | Carnes | SITE 1 | CH Building > CH Floor 2 > Room 296
AIRD-01 | Air Dryer | Operating |  | 33779R02 | Carnes | Carnes | SITE 1 | CH Building > CH Floor 2 > Room 280
AIRD-02 | Air Dryer | Operating |  | 33779R04 | Carnes | Carnes | SITE 1 | CH Building > CH Floor 2 > Room 271
P-01 | Hot Water Pump | Operating |  | 903580 | TRANE | TRANE | SITE 2 | TS Building > Boiler Room
P-02 | Hot Water Pump | Operating |  | 903581 | TRANE | TRANE | SITE 2 | TS Building > Boiler Room
P-03 | Hot Water Pump | Operating |  | 903582 | TRANE | TRANE | SITE 2 | TS Building > Boiler Room
P-04 | Hot Water Pump | Operating |  | 903583 | TRANE | TRANE | SITE 2 | TS Building > Boiler Room
P-05 | Hot Water Pump | Operating |  | 903584 | TRANE | TRANE | SITE 2 | TS Building > Boiler Room
RAD-01 | Fin Tube Radiation | Operating |  | 1608-027-090-0043 | TRANE | TRANE | SITE 2 | TS Building > Fish Mechanical Room
RAD-02 | Fin Tube Radiation | Operating |  | 1608-027-090-0044 | TRANE | TRANE | SITE 2 | TS Building > Fish Mechanical Room
RAD-03 | Fin Tube Radiation | Operating |  | 1608-027-090-0045 | TRANE | TRANE | SITE 2 | TS Building > Fish Mechanical Room
RAD-04 | Fin Tube Radiation | Operating |  | 1608-027-090-0046 | TRANE | TRANE | SITE 2 | TS Building > Fish Mechanical Room
RAD-05 | Fin Tube Radiation | Operating |  | 1608-027-090-0047 | TRANE | TRANE | SITE 2 | TS Building > Fish Mechanical Room