## Sheet1
Name | ItemCategory | Description | Barcode | UnitPrice | ItemGroup | Manufacturer | UnitOfMeasure | ItemStatus
Damper Actuator Diaphragm | Part |  |  | 15.95 | Actuators | TRANE | Each | Active
Circuit Breaker 480V/3P/35 Amp | Asset |  |  | 289.95 | Circuit Breakers | TRANE | Each | Active
Blower Assembly Gasket | Part |  |  | 12.75 | Blower Motors/Assemblies | TRANE | Each | Active
3" x 1" Air Inlet Wheel w/ .315" Bore | Part |  |  | 29.25 | Blower Motors/Assemblies | TRANE | Each | Active
Stainless Steel Burner | Part |  |  | 21.6 | Pilot Burners | TRANE | Each | Active
8 Pin Socket | Part |  |  | 15.65 | Pilot Burners | TRANE | Each | Active
Humidifier Pad | Part |  |  | 18.25 | Pilot Burners | TRANE | Each | Active
Transition Receptacle w/ Screws | Part |  |  | 16.8 | Pilot Burners | TRANE | Each | Active
Bearing Ball Roller/Link | Part |  |  | 6.25 | Bearing Kits | TRANE | Each | Active
Pressure Switch | Part |  |  | 15.4 | Pressure Switches | TRANE | Each | Active
Control Stat; Open 75 F or 55 F | Part |  |  | 23.75 | Temperature Controllers | TRANE | Each | Active
240V Limit Thermostat (105" Open, 73" Close) | Part |  |  | 24.95 | Temperature Controllers | TRANE | Each | Active
Compressor Mounting Kit | Part |  |  | 30.95 | Compressors | TRANE | Each | Active
Capacitor - 4 MFD, 370V | Part |  |  | 5.09 | Capacitors | TRANE | Each | Active
Capacitor - 5 MFD, 440V | Part |  |  | 6.75 | Capacitors | TRANE | Each | Active
Capacitor - 7.5 MFD, 370V | Part |  |  | 4.75 | Capacitors | TRANE | Each | Active
Capacitor- 7.5 MFD, 440V | Part |  |  | 8.89 | Capacitors | TRANE | Each | Active
Capacitor- 10 MFD, 370V | Part |  |  | 7.65 | Capacitors | TRANE | Each | Active
Capacitor- 12.5 MFD, 370V | Part |  |  | 8.89 | Capacitors | TRANE | Each | Active
Capacitor- 20 MFD, 370V | Part |  |  | 9.35 | Capacitors | TRANE | Each | Active
Capacitor - 5 MFD, 370V | Part |  |  | 3.55 | Capacitors | TRANE | Each | Active
Run Capacitor - 5 MFD 370V | Part |  |  | 5.35 | Capacitors | TRANE | Each | Active
Contactor - 40 Amp, 1 Pole, 24V w/ Screws | Part |  |  | 12.95 | Contactors | TRANE | Each | Active
1 Pole Contactor (24V, 40A) | Part |  |  | 12.95 | Contactors | TRANE | Each | Active
1 Pole Contactor w/ 24V Coil (30 Amp) | Part |  |  | 11.95 | Contactors | TRANE | Each | Active
24V, 2 Pole Contactor, 30 AMP | Part |  |  | 11.45 | Contactors | TRANE | Each | Active
In Line Disposable Filter | Part |  |  | 26.87 | Filters | TRANE | Each | Active
Belly Band | Part |  |  | 16.1 | Heating | TRANE | Each | Active
Crankcase Heater w/ 62" Lead - 70W, 480V | Part |  |  | 19.95 | Heating | TRANE | Each | Active
Replacement Indicator Knob for THT1234 | Part |  |  | 8.79 | Thermostats | TRANE | Each | Active
3/8" x 3/8" Liquid Service Valve | Part |  |  | 13.3 | Valves | TRANE | Each | Active
Nikrothal 80 Flame Sensor | Part |  |  | 7.95 | Flame Sensors | TRANE | Each | Active
Motor Mounting Bracket | Part |  |  | 8.95 | Motors & Parts | TRANE | Each | Active
115 TEFC Motor (1/4 HP) | Part |  |  | 7.35 | Motors & Parts | TRANE | Each | Active
Slinger w/ 1/2"Bore | Part |  |  | 9.95 | Motors & Parts | TRANE | Each | Active
Indoor Fan Motor Mount | Part |  |  | 11 | Motors & Parts | TRANE | Each | Active
Motor Arm Bracket | Part |  |  | 3.25 | Motors & Parts | TRANE | Each | Active
Ambient Sensor | Part |  |  | 11.55 | Temperature Sensors | TRANE | Each | Active
Ambient Sensor Assembly | Part |  |  | 12.95 | Temperature Sensors | TRANE | Each | Active
Temp. Sensor 30" for 3/4" Tube | Part |  |  | 6.05 | Temperature Sensors | TRANE | Each | Active
Coil Sensor, 9.75 OHM (75F) | Part |  |  | 13.95 | Temperature Sensors | TRANE | Each | Active
High Limit Switch (190° Open, 160° Close) | Part |  |  | 8.95 | Relays, Switches, Limit Controls | TRANE | Each | Active
Reverse Flow Sw; 95 Open 85 Close | Part |  |  | 7.2 | Relays, Switches, Limit Controls | TRANE | Each | Active
SPDT Auxiliary Switch | Part |  |  | 7.85 | Relays, Switches, Limit Controls | TRANE | Each | Active
CO Auto Limit Switch (120°F) | Part |  |  | 5.7 | Relays, Switches, Limit Controls | TRANE | Each | Active
110-140 F Auto Limit Switch | Part |  |  | 9.5 | Relays, Switches, Limit Controls | TRANE | Each | Active
1 NO/1 NC 20/60 A Auxiliary Switch | Part |  |  | 9 | Relays, Switches, Limit Controls | TRANE | Each | Active
CO Auto Limit Switch (190°F) | Part |  |  | 5.6 | Relays, Switches, Limit Controls | TRANE | Each | Active
SPST Door Switch (125/250V, 21A) | Part |  |  | 9.5 | Relays, Switches, Limit Controls | TRANE | Each | Active
115V Primary, 24V Secondary Transformer | Part |  |  | 19.95 | Transformers | TRANE | Each | Active